UWSP - WORKPLACE SAFETY INSPECTION CHECKLIST

Bldg: ___________________________    Date of Inspection ________________

Supervisor / Inspector (name/phone)________________________  Other Inspector(s) __________

(Circle “NA” if not applicable or not observed.)

ADMINISTRATIVE

| Are accident/injury report forms readily available to employees in the main office? | Y N --NA |
| --- | --- |
| Are inspections completed daily, weekly and monthly for all workspaces, utilizing this checklist? | Y N -- NA |
| Is the topic of safety part of the curriculum and staff meetings? | Y N -- NA |
| Are all faculty trained in basic safety and campus emergency procedures upon hire? Are their training records available? | Y N – NA |
| Are all Fire Evacuation maps well posted at entrance and exits? | Y N – NA |
| Are emergency procedures posted and available to all employees? | Y N – NA |
| Are the elevator certifications up to date? | Y N – NA |
| Are fire doors and egress areas clear and in safe working order? | Y N – NA |
| Are basic first aid supplies available and adequate? Are locations marked and communicated well to personnel and students in the area? | Y N – NA |
| Are all student workers (both paid and unpaid) trained in safety related to their job tasks as required by OSHA? Are their training records available? | Y N – NA |
| Is there a designated first aid person or team in the department? | Y N – NA |

PERSONAL PROTECTIVE EQUIPMENT

| Have hazard/risk assessments been completed for all processes? (see attachment) http://www.uwsp.edu/rmgt/Pages/ehs/general/Risk-Assessment.aspx | Y N -- NA |
| --- | --- |
| Are safety glasses, hearing protection, gloves and full-sleeved clothing utilized where necessary by all employees, students, staff and faculty? | Y N -- NA |
| Are slip resistant and steel-toed shoes and boots utilized as required? Is the campus shoe program utilized in the department? | Y N -- NA |
| Are those using volatile organic compounds, plasters and exposed to wood and other dusts utilizing the appropriate respiratory protective masks? | Y N -- NA |
| Is jewelry, rings necklaces and long hair kept back from machinery process? | Y N -- NA |

WALKING/WORKING SURFACES

| Housekeeping - Is the area routinely cleaned? Is there a record of such? | Y N -- NA |
| --- | --- |
| Where wet processes are used, is proper drainage maintained, and false floors, platform mats, or other dry standing places available? | Y N -- NA |
| When required, are floor loading signs posted? (i.e., mezzanine areas) | Y N -- NA |
| Are aisles and passageways kept clear? | Y N -- NA |

HAZARDOUS MATERIALS

| Are Hazard Communication requirements communicated clearly to all personnel, students and employees in the area (OSHA 1910.1200)? | Y N -- NA |
| --- | --- |
| Are all personnel made aware of Blood Borne pathogens (OSHA 1910.1030)? | Y N -- NA |
| Are flammable and combustible liquids being stored in approved containers and/or storage cabinets? | Y N -- NA |
| Are containers properly labeled (identity and hazard warning)? | Y N -- NA |
| Are emergency showers and eye wash facilities available where employees are exposed to corrosive materials? | Y N – NA |
| Are they being inspected/flushed as required? (documented) | Y N – NA |
| Are MSDS posted or immediately available? | Y N – NA |
| Do all personnel know how to use CHEMWATCH? | Y – N - NA |
| Does EHS receive a weekly shipment of outdated hazardous materials when required? | Y – N – NA |

GUARDING OF OPEN-SIDED FLOORS, WALL OPENINGS, AND PLATFORMS

| Are all open-sided floors, wall openings, and platforms that are more than 4 feet above ground level guarded by guard rails, covers, or other equivalent means? | Y N -- NA |
| --- | --- |
| Are stairways with at least 4 steps, provided with handrails 30”-34” high? | Y N -- NA |
| Are all ladders maintained in good condition? | Y N – NA |
| Is all overhead shelving properly utilized? | Y N – NA |

MEANS OF EGRESS, DOORS, FIRE PROTECTION

| Is there an adequate number of exits? | Y N – NA |
| --- | --- |
| Do all exits provide free and unobstructed egress from all parts of the building? | Y N -- NA |
| Are all exits clearly visible and marked? | Y N -- NA |
| Are all doorways and exits and hallways that are not exits clearly marked and unobstructed? | Y N -- NA |
| Are all exits provided with artificial illumination? | Y N – NA |
| Is adequate lighting provided in all work areas? | Y N – NA |
| Are floors painted properly with lines to delineate aisles and walkways, particularly in front of electrical panels? | Y N -- NA |
| Are personnel students and staff regularly briefed on fire safety? By what standard, and is there recordkeeping to demonstrate those personnel that have been trained, such as with sign in sheets? | Y N -- NA |

COMPRESSED GASES

| Are all compressed gas cylinders stored in a well ventilated, dry area where they can’t be knocked over? | Y N -- NA |
| --- | --- |
| Are all acetylene and oxygen cylinders stored at least 20 feet apart or separated by a 5 foot non-combustible barrier between them? | Y N -- NA |
| Are acetylene cylinders being stored upright? | Y N -- NA |
| Are all compressed gas cylinders not in use, stored with their valve protection caps on? | Y N -- NA |

MATERIAL HANDLING AND STORAGE

| Are materials stored in a stable and secure manner to prevent sliding or collapse? | Y N -- NA |
| --- | --- |
| Are storage areas kept free of tripping, fire, explosion hazards, or pest harborage? | Y N -- NA |
| Forklift truck Operator’s Daily Checklist utilized and completed. | Y N -- NA |
| Forklift truck operators observed have current operator’s license. | Y N -- NA |

FIRE PROTECTION

| Are all portable fire extinguishers maintained in a fully charged and operable condition? | Y N -- NA |
| --- | --- |
| Are the fire extinguishers conspicuously located where they will be readily accessible (not blocked) and immediately available when needed? | Y N -- NA |
| Are fire extinguishers inspected monthly to detect any obvious physical damage, corrosion, or other impairments? | Y N -- NA |
| Are the hydrostatic tests of the fire extinguishers current? | Y N – NA |
| Are Fire Doors left closed, marked, and not blocked open? | Y N - NA |
| Are fire blocks established at the junctures of the ceiling, walls and floors, and utility passageways between these barriers, throughout the building? List locations that need repair below in notes section: | Y N - NA |

MACHINE GUARDING

| Are all of the machinery that requires point of operation guarding adequately guarded? | Y N -- NA |
| --- | --- |
| Are all the gears, sprockets, and pulleys adequately guarded? | Y N -- NA |
| Are all fans that are less than 7 feet above the floor or working level provided with guards having openings no larger than 1/2 inch? | Y N -- NA |
| Are all machines designed for a fixed location securely anchored (include soft drink dispensing machines with empty weight of 700 Lbs.) to prevent walking or moving? | Y N -- NA |

ELECTRICAL

| Are flexible cords and cables being used in continuous lengths without splices or taps? | Y N -- NA |
| --- | --- |
| Is the area free of flexible cords (extension cords) and cables being used as a substitute for fixed wiring of a structure? | Y N -- NA |
| Are any extension cords connected to another extension cord? | Y N -- NA |
| Do all power strips (surge protectors) include a circuit breaker? | Y N -- NA |
| Are receptacles grounded and properly wired? | Y N -- NA |
| Are all unused openings in cabinets, boxes, and fittings effectively covered? | Y N -- NA |
| Was frayed or otherwise exposed wiring observed? | Y N – N A |
| Is there adequate amount of working space (3 feet) in front of electrical panel boxes? Is a barrier painted on the floor? | Y N -- NA |
| Were all disconnecting means and circuits properly identified and labeled? | Y N -- NA |

LOCKOUT/TAGOUT

| Are locks/tags filled out completely and accurately? | Y N -- NA |
| --- | --- |
| Is the item locked/tagged in the position/condition stated? | Y N -- NA |
| Is there a Lockout/Tagout log | Y N -- NA |
| Do locks/tags match the Lockout/Tagout Log? | Y N – NA |
| Is the Lockout/Tagout Log being properly maintained by the coordinator? | Y N – NA |
| Is the Log being audited as required? | Y N – NA |

WEIGHT HANDLING EQUIPMENT

| Hoist hook equipped with an approved mousing device. | Y N -- NA |
| --- | --- |
| Operator has a valid license for the equipment. | Y N -- NA |
| Is the shackle body permanently and legibly marked with trademark, safe working load (SWL), size, and expiration date? | Y N -- NA |
| Does the pin and the bell of the shackle match? | Y N -- NA |
| Are the wire ropes tagged with current certification date? | Y N -- NA |

GENERAL

| Does the building or structure have any apparent structural deficiencies that may be hazardous to personnel or may compromise the structural integrity of the building? | Y N – NA |
| --- | --- |
| Are refrigerators used for their intended purposes? | Y N – NA |
| Are employee lounges and break areas free of hazards or safety violations? | Y N – NA |
| Are drinking fountains clean and in working order? | Y N – NA |
| Are employee lounges and break areas free of hazards or safety violations? | Y N – NA |
| Is good housekeeping being practiced? | Y N – NA |
| Does the exterior of the building present no safety concern? | Y N – NA |

UNSAFE BEHAVIOR

| Are workers wearing the required PPE for the location and for the work being performed? | Y N -- NA |
| --- | --- |
| Are workers taking the necessary safety precautions for the work being performed? | Y N -- NA |
| Is all work being performed so that other workers in the area are not being exposed to occupational health hazards or unsafe conditions? | Y N -- NA |
| Are any workers being exposed to potential fall hazards without the protection of safety rails or the appropriate fall protection equipment? | Y N -- NA |
| Any other unsafe behavior/act observed at the time of the inspection? | Y N – NA |
| NOTES SECTION: |  |

I have received a copy, agree to and understand the items contained in this inspection as written.

Date:

Print / Sign:

Department Chair or Assigned Manager

……………………………………………………………………………………….

Date:

Inspection completed by:

UW-Stevens Point EHS

BUILDING INSPECTION CHECKLIST – CORRECTIVE ACTION SUMMARY

| ITEM # | SAFETY CONCERN | CORRECTIVE ACTION | RESPONSIBLE PARTY | TARGET DATE | DATE ACTION COMPLETED |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
|  |  |  | SIGNED: |  |  |
|  |  |  | COMPLETED BY: |  | DATE: |