**UWSP**

**DISPATCHED EVENTS LOG** Printed On: Saturday, March 12, 2016 6:22:24 AM

 Page 1 of 6

 Records Included in This Report: **All Field Agency Records Included**

 Date 2 /28/2016 To 3 /5 /2016

TOTAL EVENTS DISPATCHED: 114

 **REC'D** **RCVD** **DISP** **ARR** **CLRD** **TIME** **TIME**

**CAD #** **TYPE** **REC'D BY** **LOCATION** **DATE** **TIME** **TIME** **TIME** **TIME** **RESP** **TOT**

2016-0000866 DRNK 543 301 RESERVE STREET \_ ON \_ ROACH 2 /28/2016 1 :09 1 :11 1 :11 2 :34 0 83

 FEMALE CALLED COMPLAINING OF INTOXICATED MALE WANDERING THE 4TH FLOOR HALLWAYS

2016-0000867 CAMPUS DISP12 1925 MARIA DRIVE \_ ON \_ POWER PLANT 2 /28/2016 4 :16 0 0

 AT APPROXIMATELY 4:00AM, 02/28/2016 THE CITY OF STEVENS POINT, AS WELL AS THE ENTIRE UWSP CAMPUS EXPERIENCED A

 MAJOR LOSS OF POWER. THE EMERGENCY GENERATORS FOR THE GEORGE STEIN BUILDING DID OPERATE AND RESTORED POWER

 TO PROTECTIVE SERVICES.

2016-0000868 ALARM DISP12 1817 MARIA DRIVE \_ ON \_ THOMPSON HALL 2 /28/2016 5 :08 5 :12 5 :12 6 :01 0 49

 FIRE ALARM REPORTED BY SIMPLEX PANEL, HEAT DETECTOR ROOM 024 BASEMENT OF THOMPSON HALL. FACILITY SERVICES

 NOTIFIED, 911 NOTIFIED

2016-0000869 ALARM DISP12 1817 MARIA DRIVE \_ ON \_ THOMPSON HALL 2 /28/2016 6 :09 6 :12 6 :12 6 :45 0 33

 SIMPLEX PANEL REPORTED SAME ALARM AGAIN. FACILITY SERVICES ARE NOTIFIED AND ON SCENE, OFFICERS ON SCENE. SILENCE

 REQUESTED.

2016-0000870 ALARM DISP12 800 FOURTH AVE \_ ON \_ UWSP SCIENCE 2 /28/2016 7 :25 7 :27 7 :29 7 :41 2 14

 SIMPLEX PANEL ALARM, SCIENCE BUILDING ROOM D008 MECHANICAL ROOM HEAT DETECTOR ALARM, 911 AND FACILITY SERVICES

 NOTIFIED.

2016-0000871 ALARM3 DISP12 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 7 :57 8 :06 8 :06 8 :10 0 4

 SIMPLEX PANEL, THE SIMPLEX PANEL SHOWED THREE PRORITY TWO ALARMS, IN THE AREAS LISTED ABOVE. ONE RESET

 ATTEMPT WAS MADE, SYSTEM REPORTED THAT IT WAS NORMAL BUT THE RED LIGHT STILL APPEARS. FACILITY SERVICES WAS

 CONTACTED. THEY HAVE A REPAIRMAN ON SCENE,

2016-0000872 ADMIT DISP12 1101 RESERVE STREET \_ ON \_ CAC 2 /28/2016 8 :10 8 :11 8 :22 8 :22 11 11

 STUDENT REQUESTED ADMIT

2016-0000873 MISC DISP12 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 8 :53 8 :57 8 :57 9 :15 0 18

 PER-MAR SECURITY IS CALLING IN SEVERAL ALARMS FROM THE NIGHT THAT WERE UNABLE TO BE HANDLED DUE TO THE LACK OF

 POWER, THEY ARE CALLING BECAUSE THE ALARMS HAVE NOT BEEN RESET YET. ALARMS INCLUDE NFAC 300, CARLSTEN ART

 GALLERY AND DELZELL TEMP ROOM 227.

2016-0000874 ADMIT 510 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 12:43 12:45 12:46 12:52 1 7

 STUDENT CALLED TO BE ADMITTED TO HER OFFICE IN THE NFAC.

2016-0000875 MAINT 510 1901 FOURTH AVE \_ ON \_ CPS 2 /28/2016 13:13 13:25 13:25 13:28 0 3

 STAFF MEMBER FROM THE CFS CAFÉ CALLED TO REPORT FREEZER ALARMS GOING OFF AND THAT THE FREEZERS WERE NOT

 RUNNING AT ALL. SHE HAD ASKED FOR AN OFFICER TO GO RESET THE COMPRESSOR SWITCH IN THE BASEMENT IN A CUSTIODIAL

2016-0000876 MISC 510 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 14:01 14:05 14:05 14:55 0 50

 AN INDIVIDUAL CALLED FROM THE NFAC STATING THAT THE SECOND FLOOR WAS UNACCESIBLE FROM THE STAIRS BUT CAN BE

 ACCESSED FROM THE ELEVATOR. HE SAID THAT THERE WAS A GARAGE TYPE DOOR THAT WAS CLOSED POSSIBLY FROM THE

 POWER OUTAGE.

2016-0000877 MAINT 510 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 14:09 14:17 14:17 14:57 0 40

 AN INDIVIDUAL MADE CONTACT WITH 551 AND 529 STATING THAT THERE ARE EMERGENCY DOORS IN THE NFAC THAT ARE NOT

 ACCESSIBLE AND ARE NOT ABLE TO BE OPENED. FACILITY SERVICES AND STAFF MEMBER WERE BOTH CALLED AND BOTH WITH NO

 ANSWER.

2016-0000878 ADMIT 510 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 14:33 14:34 14:34 14:35 0 1

 STUDENT CALLED TO BE ADMITTED TO THE DACE STUDIO.

2016-0000879 TRAF 510 2050 FOURTH AVE \_ ON \_ HEC 2 /28/2016 14:42 0 0

 STUDENT CALLED STATING THAT HIS VEHICLE WILL BE LEFT OVERNIGHT IN THE PARKING LOT. HE IS HAVING MAJOR CAR

 DIFFICULITES. HE HAD ALREADY CALLED PARKING SERVICES.

2016-0000880 MAINT 510 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 15:01 15:04 15:04 15:10 0 6

 AN INDIVIDUAL CALLED STATING THAT THE EMERGENCY DOORS GOING TO THE THIRD FLOOR OF THE NFAC WERE DOWN AND

 THERE IS NO ACCESS TO THE THIRD FLOOR. FACLILITY SERVICES WAS CALLED AND THEY ARE ON THEIR WAY. 551 IS 10-6.

2016-0000881 MISC RO20 LOT J PARKING LOT \_ ON \_ PARKING LOT J 2 /28/2016 19:02 19:09 19:09 19:09 0 0

 551 INVESTIGATED A CAR ALARM GOING OFF ON A HONDA PARKED IN LOT J.

 551 REQUESTED CONTACTING SPPD TO FIND OUT WHO THE REGISTERED OWNER IS TO ATTEMPT TO CONTACT THAT INDIVIDUAL.

 551 ALSO NOTED THAT NOTHING WAS BROKE ON THE VEHICLE.

2016-0000882 ADMIT RO20 1901 FOURTH AVE \_ ON \_ CPS 2 /28/2016 19:10 19:13 19:13 19:13 0 0

 STUDENT REQUESTED ADMISSION TO CPS 116 FOR A STUDY TABLE THROUGH ATHLETICS.

 551, 524, AND 567 WILL BE 10-6 CPS

 ALL UNITS WILL BE 10-8. KRUERGER ADMITTED

 **UWSP**

**DISPATCHED EVENTS LOG** Printed On: Saturday, March 12, 2016 6:22:24 AM

 Page 2 of 6

 Records Included in This Report: **All Field Agency Records Included**

 Date 2 /28/2016 To 3 /5 /2016

TOTAL EVENTS DISPATCHED: 114

 **REC'D** **RCVD** **DISP** **ARR** **CLRD** **TIME** **TIME**

**CAD #** **TYPE** **REC'D BY** **LOCATION** **DATE** **TIME** **TIME** **TIME** **TIME** **RESP** **TOT**

2016-0000883 BUILD RO20 2100 MAIN STREET \_ ON \_ OLD MAIN 2 /28/2016 19:14 19:15 19:15 19:20 0 5

 SOUTH PATROL

2016-0000884 MISC RO20 1108 FREMONT STREET \_ ON \_ SSC 2 /28/2016 19:21 19:28 19:28 19:33 0 5

 A FACULTY MEMBER OF THE SSC CALLED ABOUT HEARING AN ALARM GOING OFF ON THE FIRST FLOOR OR THE

 BASEMENT OF THE SSC. HE SAID THAT HE HAD WORKED THERE FOR OVER 20 YEARS BUT HAS NEVER HEARD THAT SOUND

 BEFORE.

2016-0000885 BUILD RO20 740 RESERVE STREET \_ ON \_ SCIENCE 2 /28/2016 21:35 21:38 21:38 21:48 0 10

 551, 524, 567 WILL BE 10-6 SCIENCE, TNR, CCC LOCKUP.

2016-0000886 BUILD 548 1015 RESERVE STREET \_ ON \_ UWSP DUC 2 /28/2016 23:01 0 0

 RECEIVED CALL THAT THE DUC HAS BEEN LOCKED UP.

2016-0000887 BUILD 548 900 RESERVE STREET \_ ON \_ LRC 2 /28/2016 23:37 23:38 23:38 23:53 0 15

 524 IS CLOSING THE LRC.

2016-0000888 BUILD 548 1800 PORTAGE STREET \_ ON \_ FAB 2 /28/2016 23:39 23:41 23:41 23:51 0 10

 567 AND 528 ARE LOCKING UP THE NFAC

2016-0000889 SUI 548 1817 MARIA DRIVE \_ ON \_ THOMPSON HALL 2 /28/2016 23:54 23:56 23:56 0 :31 0 35

 STUDENT FROM THOMPSON HALL INFORMING PS THAT THEY HAVE A RESIDENT THAT WAS HAVING SUICIDAL THOUGHTS AND

 TENDENCIES. HE REQUESTED THAT PS ESCORT THE RESIDENT TO ST. MICHAEL'S HOSPITAL.

2016-0000890 TRAIN 548 1925-GEO.STIEN MARIA DRIVE \_ ON 2 /29/2016 1 :39 0 0

 FOR TRAINING PURPOSES.

2016-0000891 ADMIT 544 425 ISADORE STREET \_ ON \_ UWSP, 2 /29/2016 5 :19 5 :21 5 :21 5 :23 0 2

 MALE LOCKED OUT OF BUILDING. UNIT 528 RESPONDING. STUDENT WAS VERIFIED THROUGH SIS TO LIVE IN BALDWIN HALL.

2016-0000892 ADMIT 544 1101 RESERVE STREET \_ ON \_ CAC 2 /29/2016 5 :39 5 :40 5 :43 5 :44 3 4

 STUDENT CALLED TO BE ADMITTED IN TO THE RADIO STATION

2016-0000893 ALARM2 DISP97 1800 PORTAGE STREET \_ ON \_ FAB 2 /29/2016 8 :18 8 :19 8 :26 8 :36 7 17

 PER MAR CALLED WITH TWO BURGLARY ALARMS FOR ATRIUM MOTION AND CLASSROOM DOOR.

2016-0000894 MISC DISP97 1925-GEO.STIEN MARIA DRIVE \_ ON 2 /29/2016 8 :41 0 0

 CALLING TRANSPORTATION WITH THE MILEAGE - 105129

2016-0000895 THEF DISP97 1015 RESERVE STREET \_ ON \_ UWSP DUC 2 /29/2016 10:15 10:16 10:16 10:17 0 1

 STUDENT WANTED TO REPORT HER BIKE BEING STOLEN OUTSIDE OF THE DUC WHEN HER FRIEND BORROWED.

2016-0000896 FOLL R-58 301 RESERVE STREET \_ ON \_ ROACH 2 /29/2016 16:35 16:37 16:37 16:39 0 2

 551 AND 517 ARE 10-6 AT MAY-ROACH HALL ROOM FOR FOLLOW-UP.

2016-0000897 CODE B R-58 ALLEN BASEBALL FIELD \_ ON \_ ALLEN 2 /29/2016 17:19 17:23 17:23 17:25 0 2

 BASE RECEIVED A CALL FROM THE CODE BLUE PHONE ON MARIA AND RESERVE. THERE WAS NO ONE ON THE OTHER END. BASE

 NOTIFIED 551.

2016-0000898 BUILD R-58 1209 FREMONT STREET \_ ON \_ NELSON 2 /29/2016 17:59 18:02 18:02 18:22 0 20

 517 AND 522 ARE 10-6 SOUTH COMPLEX BUILDING LOCKUP.

2016-0000899 ALARM2 R-58 1108 FREMONT STREET \_ ON \_ SSC 2 /29/2016 18:08 18:18 18:19 18:37 1 19

 THE SIMPLEX PANEL AT BASE WENT OFF FOR A TROUBLE ALARM FOR NODE 27 (SSC) FOR AC POWER.

2016-0000900 COMP R-58 1801 FOURTH AVE \_ ON \_ UWSP, COLLINS 2 /29/2016 18:38 18:42 18:42 18:43 0 1

 BASE RECEIVED A CALL FROM AN INDIVIDUAL THAT REPORTEDLY SAW WHAT LOOKED LIKE HIGH SCHOOL STUDENTS

 SKATEBOARDING BY THE CCC. 414-469-2028. 551 AND 514 ARE 10-6.

2016-0000901 FOLL R-58 1817 MARIA DRIVE \_ ON \_ THOMPSON HALL 2 /29/2016 18:54 18:55 18:55 18:56 0 1

 551 AND 514 ARE 10-6 FOR FOLLOW-UP AT THOMSON HALL ROOM

2016-0000902 MISC R-58 1800 PORTAGE STREET \_ ON \_ FAB 2 /29/2016 19:29 0 0

 STAFF MEMBER CALLED BASE REQUESTING THAT THE SMOKE DETECTORS IN THE JENKINS THEATER TO BE DISABLED. HE STATED

 THAT HE WOULD CALL BACK AT THE END OF THE NIGHT. BASE DISABLED THE ALARM.

2016-0000903 BUILD 519 1101 RESERVE STREET \_ ON \_ CAC 2 /29/2016 21:01 21:03 21:03 21:04 0 1

 564 AND 522 ARE SECURING THE CAC.

2016-0000904 FOLL 519 1817 MARIA DRIVE \_ ON \_ THOMPSON HALL 2 /29/2016 21:22 21:24 21:24 21:26 0 2

 551 AND 514 ARE FOLLOWING UP ON A PRIOR CASE IN THOMPSON HALL.

 **UWSP**

**DISPATCHED EVENTS LOG** Printed On: Saturday, March 12, 2016 6:22:24 AM

 Page 3 of 6

 Records Included in This Report: **All Field Agency Records Included**

 Date 2 /28/2016 To 3 /5 /2016

TOTAL EVENTS DISPATCHED: 114

 **REC'D** **RCVD** **DISP** **ARR** **CLRD** **TIME** **TIME**

**CAD #** **TYPE** **REC'D BY** **LOCATION** **DATE** **TIME** **TIME** **TIME** **TIME** **RESP** **TOT**

2016-0000905 BUILD 519 1801 FOURTH AVE \_ ON \_ UWSP, COLLINS 2 /29/2016 21:57 21:58 21:58 22:04 0 6

 564 AND 522 ARE SECURING THE CCC AND THE CPS.

2016-0000906 BUILD R-58 800 RESERVE STREET \_ ON \_ UWSP, COLL. 2 /29/2016 21:58 22:01 22:01 22:16 0 15

 551 AND 511 ARE 10-6 FOR TNR AND SCI BUILDING CLOSURES.

2016-0000907 BUILD 519 900 RESERVE STREET \_ ON \_ LRC 2 /29/2016 23:46 23:47 23:47 0 :03 0 16

 528, 522, AND 511 ARE SECURING THE LRC.

2016-0000908 BUILD 519 1800 PORTAGE STREET \_ ON \_ FAB 3 /1 /2016 0 :03 0 :04 0 :04 0 :14 0 10

 528, 522 AND 511 ARE SECURING THE NFAC.

2016-0000909 SUI 520 201 ISADORE STREET \_ ON \_ BURROUGHS 3 /1 /2016 3 :55 3 :58 3 :58 4 :10 0 12

 MALE CALLED PS TO REPORT THAT FEMALE HAS BEEN HAVING SUICIDAL THOUGHTS. 528 AND 508 ARE 10-23

 BURROUGHS HALL.

2016-0000910 CAMPUS 520 2100 MAIN STREET \_ ON \_ OLD MAIN 3 /1 /2016 4 :39 4 :45 4 :45 4 :45 0 0

 528 AND 508 ARE 10-6 WITH A FOOT PATROL OF THE SOUTH COMLEX.

2016-0000911 ADMIT 520 201 RESERVE STREET \_ ON \_ SUITES 3 /1 /2016 4 :46 5 :07 5 :07 5 :09 0 2

 AN INDVIDUAL CALLED PS TO BE ADMITTED INTO THE SUITES. THE INDIVIDUAL SAID THEY WEREN'T A STUDENT BUT HAS A FRIEND

 IN THE SUITES. THE INDIVIDUAL STATED THEY DIDN'T HAVE A PLACE TO GO. 528 AND 508 ARE 10-6.

2016-0000912 ADMIT 520 1101 RESERVE STREET \_ ON \_ CAC 3 /1 /2016 5 :36 5 :38 5 :39 5 :42 1 4

 STUDENT CALLED PS TO BE ADMITTED TO 90FM. 528 AND 508 ARE 10-76.

2016-0000913 ELE 543 409 ISADORE STREET \_ ON \_ UWSP 3 /1 /2016 8 :25 0 0

 CALL FROM ELEVATOR AND THERE WAS NO ANSWER

2016-0000914 EMMS 543 1801 FOURTH AVE \_ ON \_ UWSP, COLLINS 3 /1 /2016 9 :45 9 :47 9 :55 9 :55 8 8

 MAN CALLED AND SAID A PROFESSOR COLLAPSED IN THE ROOM

2016-0000915 FRAU 543 UNKNOWN OFF CAMPUS LOCATION \_ ON 3 /1 /2016 10:43 0 0

 MALE CALLED AND SAID THAT THERE WAS A SCAM CALL INCLUDING INFO FROM UWSP

2016-0000916 MISC DISP11 1800 PORTAGE STREET \_ ON \_ FAB 3 /1 /2016 17:55 0 0

 THE THEATER DEPARTMENT REQUESTED THE SMOKE ALARM BE DISABLED FOR THE JENKINS THEATER

2016-0000917 BUILD DISP11 1108 FREMONT STREET \_ ON \_ SSC 3 /1 /2016 18:02 18:04 18:04 18:14 0 10

 541 IS 10-6 WITH BUILDING CLOSURE OF SOUTH COMPLEX

2016-0000918 ADMIT DISP11 1800 PORTAGE STREET \_ ON \_ FAB 3 /1 /2016 19:14 19:17 19:17 19:17 0 0

 STAFF MEMBER CALLED PS BECAUSE HE LOCKED HIMSELF OUT OF HIS OFFICE. 512 IS 10-6 WITH ADMIT.

2016-0000919 ADMIT DISP11 1801 FOURTH AVE \_ ON \_ UWSP, COLLINS 3 /1 /2016 19:21 19:22 19:23 19:27 1 5

 STAFF MEMBER LOCKED HERSELF OUT OF THER OFFICE, AND NEEDED TO BE ADMITTED BACK IN

2016-0000920 BUILD 548 1101 RESERVE STREET \_ ON \_ CAC 3 /1 /2016 20:57 20:58 20:58 20:59 0 1

 541 AND 526 ARE LOCKING UP THE CAC.

2016-0000921 BUILD 548 1801 FOURTH AVE \_ ON \_ UWSP, COLLINS 3 /1 /2016 21:54 21:56 21:56 22:13 0 17

 531 AND 512 HAVE BEGUN CENTRAL LOCKUP OF THE CCC, CPS, TNR AND SCIENCE BUILDING.

2016-0000922 BUILD DISP11 1800 PORTAGE STREET \_ ON \_ FAB 3 /1 /2016 22:02 0 :02 0 :06 0 :15 4 13

 THE DANCE STUDIO REQUEST PS TO COME LOCK UP THE DANCE STUDIO.

2016-0000923 BUILD 548 900 RESERVE STREET \_ ON \_ LRC 3 /1 /2016 23:43 23:44 23:44 0 :01 0 17

 512 HAS BEGUN LRC LOCKUP.

2016-0000924 BUILD 548 1015 RESERVE STREET \_ ON \_ UWSP DUC 3 /2 /2016 0 :13 0 0

 STAFF MEMBER CALLED, AND CONFIRMED THAT THE DUC HAD BEEN LOCKED UP.

2016-0000925 MISC 548 2050 FOURTH AVE \_ ON \_ HEC 3 /2 /2016 5 :25 0 0

 STAFF MEMBER FROM ROTC CALLED PS INFORMING ME THAT THEY WILL BE USING DUMMY RIFLES IN THE MAC FROM 6A-7A.

2016-0000926 ADMIT DISP44 1101 RESERVE STREET \_ ON \_ CAC 3 /2 /2016 5 :34 5 :35 5 :53 5 :53 18 18

 STUDENT CALLED PS ASKING IF SOMEONE COULD ADMIT HIM INTO THE 90 FM RADIO STATION. 552 WILL BE 10-76 TO THE CAC

2016-0000927 ELE DISP44 740 RESERVE STREET \_ ON \_ SCIENCE 3 /2 /2016 5 :38 5 :40 5 :40 5 :53 0 13

 THERE IS A FACILLITY SERVICES WORKER STUCK IN THE ELEVATOR B114 IN THE SCI BUILDING. 552 IS 10-6 AT SCI.

 **UWSP**

**DISPATCHED EVENTS LOG** Printed On: Saturday, March 12, 2016 6:22:24 AM

 Page 4 of 6

 Records Included in This Report: **All Field Agency Records Included**

 Date 2 /28/2016 To 3 /5 /2016

TOTAL EVENTS DISPATCHED: 114

 **REC'D** **RCVD** **DISP** **ARR** **CLRD** **TIME** **TIME**

**CAD #** **TYPE** **REC'D BY** **LOCATION** **DATE** **TIME** **TIME** **TIME** **TIME** **RESP** **TOT**

2016-0000928 MISC 562 LOT X PARKING LOT \_ ON \_ PARKING LOT X 3 /2 /2016 16:30 0 0

 CALLER WAS LOCKED OUT OF THEIR VEHICLE, THEY ASKED IF WE COULD UNLOCK IT FOR THEM. A NUMBER FOR A LOCKSMITH WAS

 GIVEN TO THEM TO ASSIST THEM WITH THEIR SITUATION.

2016-0000929 ELE 562 910 FREMONT STREET \_ ON \_ UWSP 3 /2 /2016 16:50 16:55 16:58 17:00 3 5

 ELEVATOR CALL, TRIED CALLING DELZELL HALL AND THE PHONE MESSAGE SAID THAT IT WAS CLOSED FOR THE DAY. SENT 538

 AND 506 TO CHECK IT OUT.

2016-0000930 EMMS 562 1800 PORTAGE STREET \_ ON \_ FAB 3 /2 /2016 17:23 0 0

STAFF MEMBER CALLED FROM THE ART BUILDING ABOUT A STUDENT WITH AN INJURY. THE STUDENT CUT HER THUMB WITH AN EXACTO BLADE AND WAS BLEEDING, HE SAID SHE WOULD PROBABLY NEED STICHES. CALLER WANTED TO KNOW THE PROCEDURE FOR

 MEDICAL GUIDELINES.

2016-0000931 BUILD 562 1108 FREMONT STREET \_ ON \_ SSC 3 /2 /2016 18:00 18:02 18:02 18:13 0 11

 538 AND 506 WILL BE LOCKING UP SOUTH COMPLEX; SSC, OLD MAIN, NELSON, AND DELZELL.

2016-0000932 ALARM2 562 1800 PORTAGE STREET \_ ON \_ FAB 3 /2 /2016 18:22 0 0

 SCENCE SHOP CALLED ASKING FOR US TO TURN OFF SMOKE ALARMS IN THE JENKINS THEATER. ALARM WAS DISABLED.

2016-0000933 ALARM 562 1800 PORTAGE STREET \_ ON \_ FAB 3 /2 /2016 19:47 19:50 19:51 20:10 1 20

 PS RECEIVED A SMOKE ALARM THROUGH THE SIMPLEX PANNEL FOR NFAC ROOM 180. 911 WAS CONTACTED AND SPFD WILL BE

 RESPONDING. FS WAS CONTACTED FOR AN ELECTRICIAN 502 RESPONDED TO THE CALL.

2016-0000934 ADMIT 562 1800 PORTAGE STREET \_ ON \_ FAB 3 /2 /2016 20:14 20:17 20:17 20:18 0 1

 STUDENT REQUESTED TO BE ADMITTED TO NFAC 300. SHE WAS VERIFIED BY ADMIT LIST AND STATED SHE WAS THERE NOW.

 SHE STATED THAT SHE DIDN'T HAVE HER ID WITH HER SO SHE WILL BE VERIFIED BY STUDENT ID NUMBER.

2016-0000935 BUILD 562 1101 RESERVE STREET \_ ON \_ CAC 3 /2 /2016 21:02 21:03 21:03 21:05 0 2

 569 AND 546 WILL BE LOCKING UP CAC

2016-0000936 BUILD 562 1901 FOURTH AVE \_ ON \_ CPS 3 /2 /2016 21:58 22:01 22:01 22:29 0 28

 506,538,569,546 WILL BE DOING A BUILDING LOCK UP FOR THE CENTRAL COMPLEX.

2016-0000937 BUILD DISP11 900 RESERVE STREET \_ ON \_ LRC 3 /2 /2016 23:47 23:48 23:48 23:59 0 11

 THE LRC STAFF CALLED PS TO ASK TO BE LOCKED. 546 AND 569 ARE 10-6.

2016-0000938 BUILD DISP11 1800 PORTAGE STREET \_ ON \_ FAB 3 /3 /2016 0 :01 0 :01 0 :01 0 :16 0 15

 BUILDING LOCK UP.

2016-0000939 BUILD DISP11 1015 RESERVE STREET \_ ON \_ UWSP DUC 3 /3 /2016 0 :08 0 0

 STAFF MEMBER AT THE DUC CALLED TO INFORM PS THEY ARE CLOSED FOR THE NIGHT.

2016-0000940 MISC DISP97 800 RESERVE STREET \_ ON \_ UWSP, COLL. 3 /3 /2016 9 :03 9 :04 9 :10 9 :14 6 10

 OFFICERS ARE DELIVERING A PACKAGE TO STAFF MEMBER. SHE IS UNABLE TO COME OVER AND PICK UP THE PACKAGE.

2016-0000941 ALARM2 DISP97 1800 PORTAGE STREET \_ ON \_ FAB 3 /3 /2016 11:00 0 0

 PS RECEIVED TROUBLE ALARM FOR NFAC 225 DELUGE SYSTEM TROUBLE ABNORMAL. PS CALLED FS AND RELAYED THE

 INFO. PS TOLD HIM THAT WE HAD THAT TROUBLE BEFORE AND IT DEALT WITH THE SPRINKLER SYSTEM.

2016-0000942 DOOR DISP97 2050 FOURTH AVE \_ ON \_ HEC 3 /3 /2016 11:15 11:17 11:28 11:28 11 11

 STAFF MEMBER CALLED FROM HEC POOL STATING THAT THEY CAN'T FIND EITHER SET OF KEYS FOR POOL AND THEY HAVE OPEN SWIM

 RIGHT NOW.

2016-0000943 ALARM2 565 1800 PORTAGE STREET \_ ON \_ FAB 3 /3 /2016 13:26 0 0

 ELECTRICIAN IS TAKING OUT SMOKE DETECTOR FOR NEXT 2 WEEKS. THEY WILL CALL US WHEN IT BACK IN SERVICE.

2016-0000944 FRAU 565 1301 FREMONT STREET \_ ON \_ HYER HALL 3 /3 /2016 14:11 14:51 14:51 15:36 0 45

 STAFF MEMBER FROM HYER HALL CALLED, WITH STUDENT AND WANTING TO REPORT A FRAUD. PERSON CALLED FROM

 "IRS" AND SHE WIRED THEM $1,800 PREVIOUSLY AND TODAY SHE WIRED SOME MONEY AND THEY ARE COMING TO PICK UP THE

 REST AT 3 O'CLOCK.

2016-0000945 MAINT DISP44 1800 PORTAGE STREET \_ ON \_ FAB 3 /3 /2016 14:56 0 0

 ELECTRICIAN CALLED PS INFORMING ME THAT HE WILL BE PULLING A SMOKE DETECTOR OUT TO LOOK FOR A NUMBER. HE WILL BE

 PUTTING IT BACK IN ABOUT 10-15 MINS.

2016-0000946 BUILD 519 2100 MAIN STREET \_ ON \_ OLD MAIN 3 /3 /2016 17:57 18:00 18:00 18:06 0 6

 551, 515, AND 506 ARE DOING THE SOUTH LOCK-UP.

2016-0000947 TANI 519 LOT A PARKING LOT \_ ON \_ PARKING LOT A 3 /3 /2016 19:37 19:40 19:40 20:19 0 39

 551, 515 AND 506 HAD NOTIFED PS THAT THERE WAS AN ACCIDENT IN LOT A.

 **UWSP**

**DISPATCHED EVENTS LOG** Printed On: Saturday, March 12, 2016 6:22:25 AM

 Page 5 of 6

 Records Included in This Report: **All Field Agency Records Included**

 Date 2 /28/2016 To 3 /5 /2016

TOTAL EVENTS DISPATCHED: 114

 **REC'D** **RCVD** **DISP** **ARR** **CLRD** **TIME** **TIME**

**CAD #** **TYPE** **REC'D BY** **LOCATION** **DATE** **TIME** **TIME** **TIME** **TIME** **RESP** **TOT**

2016-0000948 BUILD 519 900 RESERVE STREET \_ ON \_ LRC 3 /3 /2016 20:52 21:05 21:05 21:06 0 1

 531 AND 567 WILL BE 10-6 LRC LOCKUP

2016-0000949 BUILD 519 1801 FOURTH AVE \_ ON \_ UWSP, COLLINS 3 /3 /2016 21:56 21:57 21:57 22:47 0 50

 505 AND 506 WILL BE 10-6 CCC AND TNR LOCKUP

2016-0000950 BUILD 517 1800 PORTAGE STREET \_ ON \_ FAB 3 /4 /2016 0 :06 0 :07 0 :07 0 :16 0 9

 531 AND 505 WERE 10-6 NFAC LOCK UP AT 12:06AM

2016-0000951 SUSP RO101 401 RESERVE STREET \_ ON \_ ALLEN 3 /4 /2016 5 :20 5 :24 5 :24 5 :39 0 15

 MALE CALLED PS SAYING HE IS A STAFF MEMBER AND ON HIS WAY TO THE ALLEN CENTER HE SAYS TWO INDIVIDUALS

 SITTING ON A BENCH, WHEN HE APPROACHED, THEY RUN OFF. HE DESCRIBED ONE AS 5' 6" AND THE OTHER AS 5' 8". 552 WAS

 DISPATCHED TO TAKE A STATEMENT

2016-0000952 ADMIT RO101 1101 RESERVE STREET \_ ON \_ CAC 3 /4 /2016 5 :24 5 :26 5 :43 5 :46 17 20

 STUDENT CALLED PS REQUESTING TO BE ADMITTED TO 90FM AT 5:40. 522 AND 544 WERE INFORMED AND WILL ADMIT STUDENT

 AT 5:40.

2016-0000953 MISC 562 1901 FOURTH AVE \_ ON \_ CPS 3 /4 /2016 7 :38 0 0

STAFF MEMBER CALLED SAYING THAT THE DOOR ON THE NORTH WEST SIDE OF THE BUILDING FACING THE TNR BUILDING WAS LOCKED. I CONTACTED A CUSTODIAL WORKER OVER THE RADIO AND THEY SAID THEY WOULD UNLOCK THE NW DOOR OF THE CPS BUILDING.

2016-0000954 MISC 562 1901 FOURTH AVE \_ ON \_ CPS 3 /4 /2016 7 :45 0 0

 STAFF WENT OVER TO THE CPS BUILDING TO UNLOCK THE DOOR ON THE NW SIDE. HE CALLED SAYING THAT ALL THE OUTSIDE

 DOORS OF THE CPS BUILDING ARE UNLOCKED. STAFF MEMBER SAID THE DOOR WASN'T LOCKED BUT IT WAS STICKING.

2016-0000955 MAINT 563 2100 MAIN STREET \_ ON \_ OLD MAIN 3 /4 /2016 13:39 0 0

STAFF MEMBER CALLED FROM OLD MAIN STATING THAT THE ELEVATOR SMELLS HOT. BASE CONTACTED FACILITY SERVICES WHO STATED THAT THEY WILL SEND SOMEONE TO CHECK IT OUT.

2016-0000956 ALARM2 563 1800 PORTAGE STREET \_ ON \_ FAB 3 /4 /2016 17:53 0 0

 THE THEATER DEPARTMENT CALLED BASE REQUESTING THAT THE JENKINS THEATER FIRE ALARM BE TURNED OFF UNTIL THEY

 CALL BACK WHEN THE SHOW IS COMPLETE. BASE DISABLED THE ALARM

2016-0000957 BUILD 563 1209 FREMONT STREET \_ ON \_ NELSON 3 /4 /2016 18:08 18:09 18:09 18:43 0 34

 546 AND 541 ARE 10-6 SOUTH COMPLEX BUILDING LOCK UP

2016-0000958 WELF 563 OFF CAMPUS UNKNOWN \_ ON 3 /4 /2016 19:15 0 0

 AT ABOUT 1:30PM DEAN OF STUDENTS WAS NOTIFIED BY FACULTY AND STUDENTS THAT MALE

 HAD NOT BEEN IN CLASS RECENTLY, HASN'T BEEN SHOWING UP TO HIS GRADUATE ACTIVITIES OR IN THE OFFICE.

2016-0000959 BUILD 530 900 RESERVE STREET \_ ON \_ LRC 3 /4 /2016 20:37 20:38 20:38 20:57 0 19

 541 AND 526 WILL BE LOCKING UP THE LIBRARY.

2016-0000960 BUILD 530 1101 RESERVE STREET \_ ON \_ CAC 3 /4 /2016 21:09 21:10 21:10 21:12 0 2

 551 IS LOCKING UP THE CAC

2016-0000961 BUILD 530 740 RESERVE STREET \_ ON \_ SCIENCE 3 /4 /2016 21:59 22:00 22:00 22:21 0 21

 546 AND 526 ARE LOCKING UP THE TNR AND SCIENCE BUILDINGS.

2016-0000962 BUILD 530 1801 FOURTH AVE \_ ON \_ UWSP, COLLINS 3 /4 /2016 22:10 22:11 22:11 22:20 0 9

 524 AND 541 WILL BE LOCKING THE CCC AND CPS.

2016-0000963 BUILD 530 1800 PORTAGE STREET \_ ON \_ FAB 3 /4 /2016 23:49 23:50 23:50 23:58 0 8

 546 AND 526 WILL BE LOCKING UP THE NFAC

2016-0000964 DOOR 530 601 DIVISION STREET \_ ON \_ SURPLUS 3 /5 /2016 0 :52 0 :54 0 :54 0 :56 0 2

 551 INFORMED BASE THAT HE FOUND THE GARAGE DOOR FACING ISADORE STREET OPENED AT 601 DIVISION SURPLUS STORE.

2016-0000965 WELF DISP95 800 FOURTH AVE \_ ON \_ UWSP SCIENCE 3 /5 /2016 2 :26 2 :27 2 :27 2 :29 0 2

 551, 513, AND 536 ARE CHECKING THE WELFARE OF A SUBJECT IN FRONT OF THE SCIENCE BUILDING ON 4TH AVE

2016-0000966 ADMIT 530 1101 RESERVE STREET \_ ON \_ CAC 3 /5 /2016 5 :41 5 :42 5 :42 5 :48 0 6

 536 IS 10-6 ADMIT OF STUDENT TO THE RADIO STATION

2016-0000967 ADMIT 530 800 RESERVE STREET \_ ON \_ UWSP, COLL. 3 /5 /2016 7 :47 7 :51 7 :51 7 :59 0 8

 STUDENT CALLED REQUESTING TO BE LET IN THE TNR ROOM 170 FOR HIS RESERVATION. RESERVATION WAS CONFIRMED IN

 EMS. 561 AND 542 ARE EN ROUTE TO UNLOCK IT.

 **UWSP**

**DISPATCHED EVENTS LOG** Printed On: Saturday, March 12, 2016 6:22:25 AM

 Page 6 of 6

 Records Included in This Report: **All Field Agency Records Included**

 Date 2 /28/2016 To 3 /5 /2016

TOTAL EVENTS DISPATCHED: 114

 **REC'D** **RCVD** **DISP** **ARR** **CLRD** **TIME** **TIME**

**CAD #** **TYPE** **REC'D BY** **LOCATION** **DATE** **TIME** **TIME** **TIME** **TIME** **RESP** **TOT**

2016-0000968 ADMIT 548 1108 FREMONT STREET \_ ON \_ SSC 3 /5 /2016 13:24 13:26 13:26 13:35 0 9

 STUDENT REQUESTED TO GET INTO THE SSC, AND STAFF MEMBER CALLED ON HIS BEHALF TO

 ALLOW HIS ADMITTANCE.

2016-0000969 CODE B 520 1901 FOURTH AVE \_ ON \_ CPS 3 /5 /2016 16:22 16:24 16:25 16:28 1 4

 PS RECEIVED A CALL FROM THE CODE BLUE PHONE SOUTH OF THE CPS. NO ONE WAS ON THE OTHER LINE. 551 IS 10-76.

2016-0000970 ALARM2 520 1800 PORTAGE STREET \_ ON \_ FAB 3 /5 /2016 18:01 0 0

 FACILITY SEVERICES CALLED PS TO INFORM THAT THE SMOKE DETECTOR IN JENKINS THEATER OF THE NFAC WOULD BE HAVING

 MAINTENCE WORK DONE AND THE TROUBLE ALARM WOULD GO OFF.

2016-0000971 AREA 520 2050 FOURTH AVE \_ ON \_ HEC 3 /5 /2016 18:09 18:13 18:13 21:05 0 172

 ATHLETICS

2016-0000972 BUILD 520 800 RESERVE STREET \_ ON \_ UWSP, COLL. 3 /5 /2016 18:15 18:17 18:17 19:02 0 45

 536 IS 10-6 LOCKING UP THE TNR, SCI, AND CCC.

2016-0000973 SUSP 520 301 RESERVE STREET \_ ON \_ ROACH 3 /5 /2016 18:51 18:55 18:55 18:55 0 0

 STEVENS POINT PD RADIOED PS THAT SOMEONE CALLED HAD CALLED 911 TO REPORT POSSIBLE GUNSHOTS OUTSIDE OF MAY

 ROACH. 551 AND 536 WERE 10-6 AT 6:35 P.M.

2016-0000974 MISC 520 1925 MARIA DRIVE \_ ON \_ POWER PLANT 3 /5 /2016 19:07 0 0

 CAMPUS CAB IS SHUTDOWN DUE TO LACK OF PERSONNEL. DATE: 3/5/2016

2016-0000975 BUILD 520 1800 PORTAGE STREET \_ ON \_ FAB 3 /5 /2016 19:27 19:29 19:29 19:30 0 1

 PS RECEIVED A CALL FROM AN INDIVIDUAL TO HAVE THE DANCE STUDIO LOCKED UP. 536 IS 10-23

2016-0000976 BUILD 547 900 RESERVE STREET \_ ON \_ LRC 3 /5 /2016 20:47 20:49 20:50 21:07 1 18

 536 WILL BE 10.76 LRC LOCKUP

2016-0000977 BUILD 547 1901 FOURTH AVE \_ ON \_ CPS 3 /5 /2016 22:01 22:03 22:03 22:05 0 2

 536 AND 515 WILL BE 10.6 CPS LOCKUP

2016-0000978 ADMIT 547 2050 FOURTH AVE \_ ON \_ HEC 3 /5 /2016 22:57 22:59 23:04 23:07 5 8

 INDIVIDUAL CALLED STATING THAT SHE LEFT HER KEYS IN THE HEC AND ASKED TO BE LET IN SO SHE CAN GRAB THEM.

2016-0000979 BUILD 547 1015 RESERVE STREET \_ ON \_ UWSP DUC 3 /5 /2016 23:00 0 0

 STAFF MEMBER CALLED FROM THE DUC STATING THAT THE BUILDING IS CLOSED