07/01/2018
07/08/2018
UW Stevens Point Protective Services
DISPATCHED EVENTS LOG
To:
Records Included in This Report:
Printed On:  Friday, July 13, 2018   8:43:25 am
All Field Agency Records Included
Date Range:
Cad #:
Type:
Rec'd By:
Location:
Rec'd
Date:
Time:
Rec'd
Page 1 of 5
ALARM2
07/01/2018
0005
Knutzen Hall 209 Isadore Street
UPSS recived an alarm thru the simplex panel stating the CO Gas Detector in the Knutzen Basment had expired.
2018000000003017
BUILD
07/01/2018
0610
NFAC 1800 Portage Street
Unit 561 will be unlocking the NFAC.
2018000000003018
ASST
07/01/2018
0823
OFF CAMPUS ‑ LOCATION KNOWN
556 is assisting SPPD with a traffic stop on Main and Reserve.
2018000000003019
ALARM2
07/01/2018
0839
Smith Hall 409 Reserve Street
UPSS is receiving multiple trouble alarms via the Simplex. One of the alarms is for Smith Hall stating 'System Trouble: Trouble monitor ‑ normal'. The other alarm was a Earth Ground Trouble for the HEC. The trouble alarms keep going off on the Simplex pannel, but will shut off before the alarm can be acknowledged. The alarms will go off every two to five minutes. Facility Services was called using the after hours number.  
2018000000003020
ALARM2
07/01/2018
1001
2401 Cnty. PP‑ WWSP Transmit OFF CAMPUS LOCATION
Staff member called UPSS to inform us that if we get another temperature alarm from the WWSP Radio Transmitter tower we can disregard it for today 7/1/18. Caller stated that the alarm goes off when the temperature rises to a certain point. Caller said that they will not be taking action because the hot weather causes the alarm to be tripped. Caller will be contacting the alarm company to raise the temperature threshold so the alarm doesn't trip on during hot weather. 
2018000000003021
ASST
07/01/2018
1027
OFF CAMPUS ‑ LOCATION KNOWN
556 is out assisting SPPD on Main and Reserve.
2018000000003022
ASST
07/01/2018
1448
OFF CAMPUS ‑ LOCATION KNOWN
556 is assisting SPPD on a traffic stop on Main St. and Illinois Ave.
2018000000003023
CAMPUS
07/01/2018
1801
Student Services Center 1108 Fremont Street
529 and 576 will be 10‑6 with south (SSC, Delzell, Old Main, nelson) patrol.
2018000000003024
ASST
07/01/2018
2113
200 DIVISION STREET
554 and 557 will be 10‑6 assisting city with traffic control for the fireworks display by the river.
2018000000003025
AREA
07/01/2018
2146
Collins Classroom Center 1801 Fourth Ave
529 and 576 will be 10‑6 central (CCC, CPS, SCI,TNR) patrol.
2018000000003026
BUILD
07/01/2018
2252
NFAC 1800 Portage Street
564 and 529 will be 10‑6 locking NFAC
2018000000003027
CLOSED
07/02/2018
0332
SCHMEEKLE SHELTER 2100 MARIA DRIVE
557 made contact with a female in schmeeckle
2018000000003028
ADMIT
07/02/2018
0813
Nelson Hall 1209 Fremont Street
Staff member called UWPD to request admittance into his office. 556 will be 10‑76 Nelson. Caller was searched in the faculty directory and confirmed his office.
2018000000003029
FIRE
07/02/2018
1050
Steiner Hall 401 Isadore Street
UWPD received a Smoke Alarm across the Simplex Panel for a room  Steiner. 556 was made aware of the alarm and will be 10‑76. Fire Dept Dispatched @ 1051 to 401 Isadore St.  
2018000000003030
THEF
07/02/2018
1243
CHEM BIO BUILDING
507 radioed base to request an officer to the Chem/Bio building for a report of a theft. 556 acknowledged the transmission and will be 10‑6 chem/Bio Building.
2018000000003031
ALARM2
07/02/2018
1446
TNR 800 Reserve Street
There will be alarm testing in the TNR. 
2018000000003032
RED PH
07/02/2018
1555
NFAC 1800 Portage Street
A male individual called and stated he accidentally set off an alarm when unlocking the computer lab near NFAC 300. He used the Red Emergency Phone to contact us. 556 and 502 are en route.
2018000000003033
BUILD
07/02/2018
1624
Albertson Hall 900 Reserve Street
564 is out locking the library.
2018000000003034

07/01/2018
07/08/2018
UW Stevens Point Protective Services
DISPATCHED EVENTS LOG
To:
Records Included in This Report:
Printed On:  Friday, July 13, 2018   8:43:27 am
All Field Agency Records Included
Date Range:
Cad #:
Type:
Rec'd By:
Location:
Rec'd
Date:
Time:
Rec'd
Page 2 of 5
ALARM2
07/02/2018
1641
NFAC 1800 Portage Street
Earlier in the day we received a phone call from an emergency phone stating there was an alarm going off near NFAC 300. We dispatched 502 and 556. After arriving 502 informed us it was a facilties issue. After facilities checked out the alarm they informed us it was an outside vendor alarm. I called Per‑Mar and asked why we did not receive a call. They stated they were not showing any alarms. I requested someone to maintenance and check on the alarm. Outside company called and said he is 30 minutes away and would be checking things out and servicing the alarm. I requested he stop into 1925 Maria Dr once things are complete and to discuss what happened.
2018000000003035
MAINT
07/02/2018
1650
Suites on Reserve 201 Reserve Street
Facilities stopped by to let us know they would be testing generators over night for Suites, Science, NFAC, HEC, LRC.
2018000000003036
BUILD
07/02/2018
1757
Old Main 2100 Main Street
564 and 576 are locking Delzell, Old Main, and Nelson.
2018000000003037
BUILD
07/02/2018
2046
CAC 1101 Reserve Street
564 and 576 are busy locking central.
2018000000003038
BUILD
07/02/2018
2248
NFAC 1800 Portage Street
576 is locking the NFAC.
2018000000003039
WELF
07/02/2018
2324
OFF CAMPUS ‑ LOCATION KNOWN
557 and 566 are checking the welfare on a subject on Maria and Michigan
2018000000003040
MAINT
07/03/2018
0728
Science Building 2001 Fourth Ave
Caller is taking the fire alarm system from SCI down for around 1 hour. 
2018000000003041
CODE B
07/03/2018
0835
Burroughs Hall 201 Isadore Street
551 and 533 will be 10‑6 with a blue phone call with no answer.
2018000000003042
AREA
07/03/2018
0901
DUC 1015 Reserve Street
551 and 533 will be 10‑6 with DUC foot patrol
2018000000003043
MAINT
07/03/2018
0928
NFAC 1800 Portage Street
Outside vendor will be taking the NFAC offline for approx. 2 hours. 
2018000000003044
CAMPUS
07/03/2018
0956
DUC 1015 Reserve Street
551 and 533 will be 10‑6 in the DUC Food court to patrol. 551 noticed more smoke than usual coming out of the stacks and noticed an oven hood has smoke coming out of it as well,
2018000000003045
MISC
07/03/2018
1123
Old Main 2100 Main Street
551 and 533 will be 10‑6 at Old Main talking to the Communications/Marketing department
2018000000003046
MISC
07/03/2018
1131
Old Main 2100 Main Street
551 and 533 will be 10‑6 talking to the Communications/Marketing department in Old Main
2018000000003047
BUILD
07/03/2018
1616
Albertson Hall 900 Reserve Street
520 and 556 are locking the LRC.
2018000000003048
CODE B
07/03/2018
1639
CODE BLUE PHONE
556 is checking a code blue phone call we received.
2018000000003049
MAINT
07/03/2018
1700
Science Building 2001 Fourth Ave
Maintenance came in and wanted to let us know they will be running generators overnight in the Suites, Science Bldg, and NFAC.
2018000000003050
BUILD
07/03/2018
1752
Delzell Hall 910 Fremont Street
520 and 564 are locking Delzell, Old Main, and Nelson.
2018000000003051
CODE B
07/03/2018
1905
Burroughs Hall 201 Isadore Street
556 is investigating a code blue phone at Burroughs SW.
2018000000003052
BUILD
07/03/2018
2049
CAC 1101 Reserve Street
520 and 564 are locking the SSC, CCC, CPS, TNR, SCI and CAC.
2018000000003053
SUSP
07/03/2018
2112
WEST TENNIS COURT
Staff member of the Suites called to alert us that the Tennis courts in front of the suites were flashing in a pattern similar to a fire alarm and was concerned. 556 is checking it out.
2018000000003054
AREA
07/03/2018
2147
Albertson Hall 900 Reserve Street
520 and 564 are on a footpatrol in the LRC.
2018000000003055
BUILD
07/03/2018
2258
NFAC 1800 Portage Street
566 and 564 will be busy closing NFAC
2018000000003056

07/01/2018
07/08/2018
UW Stevens Point Protective Services
DISPATCHED EVENTS LOG
To:
Records Included in This Report:
Printed On:  Friday, July 13, 2018   8:43:27 am
All Field Agency Records Included
Date Range:
Cad #:
Type:
Rec'd By:
Location:
Rec'd
Date:
Time:
Rec'd
Page 3 of 5
CAMPUS
07/04/2018
0002
HEC 2050 Fourth Ave
564 and 566 foot patrol HEC
2018000000003057
CODE B
07/04/2018
0052
Burroughs Hall 201 Isadore Street
556 will en route to check the blue phone in Burroughs Hall
2018000000003058
CAMPUS
07/04/2018
0119
Old Main 2100 Main Street
566 and 564 foot patrol Old Main
2018000000003059
CODE B
07/04/2018
0826
Burroughs Hall 201 Isadore Street
UPSS received a call form the Burroughs SW Code Blue phone with no answer. 551 and 566 will be checking the area.
2018000000003060
MISC
07/04/2018
0856
Old Main 2100 Main Street
551 will be out at Old Main raising the flags.
2018000000003061
MISC
07/04/2018
1305
Knutzen Hall 209 Isadore Street
551 and 566 will be out asking individuals to move their vehicle off the sidewalk behind Knutzen Hall.
2018000000003062
MISC
07/04/2018
1445
TNR 800 Reserve Street
Staff member called stating that while trying to keep the herpetarium warm the space heaters blew a fuse. Caller cannot find the breaker box to reset the fuse and asked if UPSS would be able to get ahold of facilities since it's a holiday. The afterhours number was called staff member stated she would call the electricians and see if anyone would be able to help.
2018000000003063
ASST
07/04/2018
1949
OFF CAMPUS ‑ LOCATION KNOWN
556 is assisting county at the Kmart parking lot.
2018000000003064
ORDI
07/04/2018
2312
OFF CAMPUS ‑ LOCATION KNOWN
553 radioed Comm Center about a group of trucks lighting off fireworks in the KMart parking lot
2018000000003065
ASST
07/04/2018
2315
OFF CAMPUS ‑ LOCATION KNOWN
553 and 532 are out with city in the KMart parking lot. See CAD# 3065
2018000000003066
WELF
07/04/2018
2338
PARKING LOT E
553 and 532 are in contact with a male on Isadore by Lot E
2018000000003067
MAINT
07/05/2018
0007
CAC 1101 Reserve Street
553 reported sprinkler with head missing. Work order placed
2018000000003068
ASST
07/05/2018
0020
OFF CAMPUS ‑ LOCATION KNOWN
553 and 532 are assisting city in the toppers parking lot on Division
2018000000003069
CAMPUS
07/05/2018
0031
TNR 800 Reserve Street
553 and 532 are on foot in the TNR
2018000000003070
MOTA
07/05/2018
0041
OFF CAMPUS ‑ LOCATION KNOWN
Isadore and Maria motorist assist. 553 are 532 are on scene. 
2018000000003071
TRAF
07/05/2018
0051
OFF CAMPUS ‑ LOCATION KNOWN
553 and 532 out with traffic on Stanley and Fremont
2018000000003072
ASST
07/05/2018
0212
OFF CAMPUS ‑ LOCATION KNOWN
553 assisting city with traffic on Philips and Briggs
2018000000003073
ASST
07/05/2018
0331
OFF CAMPUS ‑ LOCATION KNOWN
532 and 553 is going to assist city with a hispanic male with a language barrier on Clark and Division. 532 will assist with translating
2018000000003074
ASST
07/05/2018
0343
OFF CAMPUS ‑ LOCATION KNOWN
553 and 532 are going to assist city on Church st
2018000000003075
AREA
07/05/2018
0419
OFF CAMPUS ‑ LOCATION KNOWN
553 and 532 are out at SPPD
2018000000003076
CAMPUS
07/05/2018
0446
Old Main 2100 Main Street
553 and 532 on foot in old main
2018000000003077
TANI
07/05/2018
0610
Watson Hall 1801 Maria Drive
553 and 532 on scene with a single car vs. deer on Maria and Isadore near Watson Hall. Deer is deceased
2018000000003078
MAINT
07/05/2018
0730
NFAC 1800 Portage Street
There is simplex testing for the fire alarms in Noel. They will call when they are done but they are taking the fire alarms offline.
2018000000003079
MAINT
07/05/2018
0733
Watson Hall 1801 Maria Drive
There is an inspection of the suites sprinkler system . They will call back once the inspection is complete
2018000000003080

07/01/2018
07/08/2018
UW Stevens Point Protective Services
DISPATCHED EVENTS LOG
To:
Records Included in This Report:
Printed On:  Friday, July 13, 2018   8:43:27 am
All Field Agency Records Included
Date Range:
Cad #:
Type:
Rec'd By:
Location:
Rec'd
Date:
Time:
Rec'd
Page 4 of 5
ALARM2
07/05/2018
0928
TNR 800 Reserve Street
Simplex kept showing an alarm for TNR 138 (loading dock) heat detector having a bad answer. Facilities was notified and said  they would send come one to look at it.
2018000000003081
BUILD
07/05/2018
1601
Albertson Hall 900 Reserve Street
Worker called and asked for the Library to be closed in 15 min. 551 was informed and will head over in 15min.
2018000000003082
ELE
07/05/2018
1633
NFAC 1800 Portage Street
UPSS got a call from the elevator located near 132B . 551 and 520 are en‑route to investigate
2018000000003083
BUILD
07/05/2018
1750
Delzell Hall 910 Fremont Street
551 is locking Delzell, 520 and 533 are locking Old Main and Nelson.
2018000000003084
BUILD
07/05/2018
2052
Student Services Center 1108 Fremont Street
533 and 520 are locking SSC and CAC
2018000000003085
BUILD
07/05/2018
2056
Collins Classroom Center 1801 Fourth Ave
520 and 533 are locking central.
2018000000003086
BUILD
07/05/2018
2312
NFAC 1800 Portage Street
533 and 531 are locking the NFAC.
2018000000003087
ALARM2
07/06/2018
0710
CHEM BIO BUILDING
UPSS received a trouble alarm for the Chem/Bio building on the 4th floor. The trouble alarm stated, "4th FL. CHEM. LRN 490. FS‑43 ‑ Duct detector out put abnormal." Facility Services was called and they will take a look at it.
2018000000003088
ALARM2
07/06/2018
0714
NORTH CHILLER PLANT 300 ILLINOIS AVENUE
UPSS received an "Earth Ground: Abnormal" trouble alarm coming from the North Chiller Plant via the Simplex. Facility Services was called and they stated that Kevin the electrician is still doing work in the North Chiller Plant, but they will have someone check it out anyways. FS was informed that the alarm is not continuously going off, but is in the system.
2018000000003089
ALARM2
07/06/2018
0718
NFAC 1800 Portage Street
Work order called saying that they will be working in the NFAC and will be taking the fire alarm system off line for the day. Caller said that they will be working on the system until about 2:00pm today (7/6/2018). Caller will call back when they are finished. 
2018000000003090
CAMPUS
07/06/2018
0832
DUC 1015 Reserve Street
551 and 564 are out on foot patrol in the DUC.
2018000000003091
MISC
07/06/2018
0840
Old Main 2100 Main Street
551 and 564 are en route to Old Main to raise the mourning flag.
2018000000003092
MAINT
07/06/2018
1230
CHEM BIO BUILDING
Staff member walked into UPSS stating they would be testing generators at the CHEM/BIO building. He will be testing the generators right away and will last from about 12:30 pm to about 1:15 pm. 
2018000000003093
ALARM2
07/06/2018
1321
NFAC 1800 Portage Street
Outside vendor called stating that he had accidentally set off the audible alarm in NFAC 300. UPSS informed him that an officer would be on the way to reset it. 551 was contacted to reset it. 502 called Base stating that the alarm is not hooked up to an alarm company and that there is no account for UPSS to be able to reset the alarm. Caller was then called back and informed of the situation. Facility Services was called to see if they could be able to reset the alarm since UPSS could not. 
2018000000003094
CODE B
07/06/2018
1420
Burroughs Hall 201 Isadore Street
Burroughs South West blue phone called UPPS with no one on the other line. UPSS heard buttons being pushed but no one on the other end. 551 and 564 checked the area out and everything is normal. No one was around the phone that needed help.
2018000000003095
ALARM2
07/06/2018
1442
Delzell Hall 910 Fremont Street
UPSS received a call from Per Mar Security stating that a 'Nurse Panic Alarm' was going off in the second floor of Delzell. 551 and 564 are on scene.
2018000000003096
BUILD
07/06/2018
1600
Albertson Hall 900 Reserve Street
LRC worker called to have the building locked in 15 min. 557 was notified and will head over there with 529.
2018000000003097
BUILD
07/06/2018
1752
Old Main 2100 Main Street
529 and 576 are locking Old Main, Nelson, and Delzell.
2018000000003098
BUILD
07/06/2018
2005
PARKING LOT D
Parking Lot D has been closed for the duration of construction. UWSP PSS will re open the lot on Sunday July 22.
2018000000003099

07/01/2018
07/08/2018
UW Stevens Point Protective Services
DISPATCHED EVENTS LOG
To:
Records Included in This Report:
Printed On:  Friday, July 13, 2018   8:43:27 am
All Field Agency Records Included
Date Range:
Cad #:
Type:
Rec'd By:
Location:
Rec'd
Date:
Time:
Rec'd
Page 5 of 5
MISC
07/06/2018
2058
Old Main 2100 Main Street
557 and 553 are taking down the mourning flag,
2018000000003100
BUILD
07/06/2018
2059
Student Services Center 1108 Fremont Street
529 and 576 are locking central as well as CAC and SSC
2018000000003101
BUILD
07/06/2018
2258
NFAC 1800 Portage Street
529 and 576 are locking the NFAC.
2018000000003102
TSTO
07/06/2018
2342
OFF CAMPUS ‑ LOCATION KNOWN
553 is on a traffic stop on Stanley near Michigan 
2018000000003103
TSTO
07/07/2018
0253
OFF CAMPUS ‑ LOCATION KNOWN
553 stopped a vehicle south of Maria on Michigan Ave
2018000000003104
MISC
07/07/2018
0510
NFAC 1800 Portage Street
529 is opening the nfac
2018000000003105
LITT
07/07/2018
0518
OFF CAMPUS ‑ LOCATION KNOWN
553 will be documenting (via photos) litter left by individuals known to loiter in Kmart parking lot as well as the parking lot in front of Subway.
2018000000003106
MISC
07/07/2018
0611
TNR 800 Reserve Street
553 and 529 are opening the TNR are the Science building
2018000000003107
ADMIT
07/07/2018
0702
Science Building 2001 Fourth Ave
556 will be unlocking the SCI building for today's events.
2018000000003108
ALARM
07/07/2018
1111
CHEM BIO BUILDING
UPSS received a fire alarm from the CHEM/BIO building. 556 is on scene and has opened the gate off of 4th and Reserve.
2018000000003109
TSTO
07/07/2018
1813
ALLEN CENTER 400 ILLINOIS STREET
557 and 564 will be 10‑6 with a traffic stop on Stanley and Illinois
2018000000003110
ADMIT
07/07/2018
1820
HEC 2050 Fourth Ave
Staff member stepped out of the building and wants to be re‑admitted. 557 and 564 will be 10‑6.
2018000000003111
CAMPUS
07/07/2018
1852
Student Services Center 1108 Fremont Street
576 will be 10‑6 with south (SSC, Delzell, Old Main) Patrol
2018000000003112
TSTO
07/07/2018
1958
401 RESERVE STREET
557 and 564 will be 10‑6 with a traffic stop on Reserve and Maria
2018000000003113
CODE B
07/07/2018
2018
Burroughs Hall 201 Isadore Street
557 and 564 will be 10‑6 with a code blue phone call from Burroughs SW
2018000000003114
ASST
07/07/2018
2153
OFF CAMPUS ‑ LOCATION KNOWN
564 and 557 will be 10‑6 assisting city with a traffic stop
2018000000003115
BUILD
07/07/2018
2257
NFAC 1800 Portage Street
Units 557 and 564 have begun NFAC lockup.
2018000000003116
TRAF
07/07/2018
2314
OFF CAMPUS ‑ LOCATION KNOWN
Unit 557 and 564 are with city police at a traffic stop by Kmart.
2018000000003117